**ĐÁNH GIÁ THỰC TRẠNG CHẤT LƯỢNG NƯỚC MÁY**

**ĐÔ THỊ HẢI PHÒNG NĂM 2013 - 2014**

**Đỗ Mạnh Cường\***

**TÓM TẮT[[1]](#footnote-1)**

Kết quả kiểm tra chất lượng nước máy tại 4 đơn vị sản xuất nước khu vực đô thị Hải Phòng trong 2 năm 2013 - 2014 cho thấy:

100% mẫu nước đạt tiêu chuẩn cho phép (TCCP). Các thông số hóa lý trong nước không biến đổi nhiều.

Hệ thống khử trùng tại các xí nghiệp sản xuất nước hoạt động có hiệu quả cao. 100% mẫu nước máy có lượng clo dư đạt TCCP.

**SUMMARY**

**ASESSMENT OF TAP WATER QUALITY IN URBAN AREAS OF HAI PHONG IN 2013 - 2014**

Test results of tap water samples taken at four water treatment plants in urban areas of Hai Phong during 2013 – 2014 period show that:

100% of the water samples meet the required standard (TCCP). There was not remarkable change in chemical and physical indicators of the water samples.

Disinfection systems at the water treatment plants were well functional. Residual chlorine in 100% of the water samples meets the required standard.

1. [↑](#footnote-ref-1)